## Slide 1
FTIR spectral comparison: figures
Bishoftu confirmation, cross-site calibrations, comparison methods (ftir_50), network spectral map (ftir_52)
2026-09-01

## Slide 2
1. Bishoftu and the five sites

## Slide 3
Bishoftu filter inventory by sampling month
26 accepted, 14 confirmed holdout, 21 sampled but not yet analysed

## Slide 4
Bishoftu confirmation: the near-zero intercept replicates on unseen filters
locked Addis winner k=8, no re-selection

## Slide 5
Locked configurations on the reconstructed holdouts
dots = fit, bars = bootstrap 95% CI

## Slide 6
One locked calibration across five SPARTAN sites
lowest-OC/EC 440 + AIRSpec, k=8, site-held-out; York fits per site

## Slide 7
Addis under every optimised calibration
the negative intercept is present in all of them

## Slide 8
HIPS blank lines: exposure and the effect on York fits
see ftir_47 for the per-deployed-line correction

## Slide 9
The raw HIPS archive: 4,115 filters across 28 sites

## Slide 10
2. Spectral comparison methods (ftir_50)

## Slide 11
In-plane versus off-plane distance to the library
Hotelling T2 and Q residual flag different filters

## Slide 12
Analog lists concentrate on a few library spectra

## Slide 13
Mutual analogs per filter, selectivity-matched
36 percent of Addis filters have none

## Slide 14
Agreement is band-dependent
dotted line = whole-spectrum r

## Slide 15
Where each site departs from the library
moving-window Pearson r against the library median

## Slide 16
A typical Addis filter and its five nearest library spectra

## Slide 17
How much the similarity metrics agree
median-based and neighbour-based similarity are different measurements

## Slide 18
3. The network spectral map (ftir_52)

## Slide 19
Median spectrum per Ward class
dashed = library median; two of four classes are low-deposit

## Slide 20
The library by Ward class, with the SPARTAN targets overlaid

## Slide 21
The IMPROVE network by median corrected spectrum
SPARTAN sites in red

## Slide 22
How similar IMPROVE sites are to each other
vertical lines mark each SPARTAN site's best match

## Slide 23
Raw versus baselined site similarity
plotted as 1 minus r on log axes; 92 percent of sites change nearest neighbour

## Slide 24
Addis analogs chosen in raw space versus baselined space
median overlap of the two top-50 sets is 12 percent

## Slide 25
The same raw-chosen analogs, redrawn after baselining

## Slide 26
Where a spectral match becomes trustworthy
EC agreement never reaches 75 percent precision at any cutoff

## Slide 27
Addis median spectrum by Ethiopian season

## Slide 28
Each season's five nearest IMPROVE spectra
top-200 analog overlap is 0 percent dry versus either wet season

## Slide 29
What each season draws from the network